## Sheet1
Registry No. (55-) | GWSI Site ID | Cadastral | Owner Name | Well Type | Well Depth (ft) | Casing Depth (ft) | Case Dia (in) | Drill Date | Applicaiton Date | Water Level (ft) | Pump Capacity (GPM) | Pump Data Available | Completion Report | Log Received
215003 |  | D13019022ADD | U S GEOLOGICAL SURVEY | MONITOR | 30 | 30 | 2 | 2008-05-21 | 2007-03-28 | 15 |  | NO |  | X
215006 |  | D13019022ADD | U S GEOLOGICAL SURVEY | MONITOR | 62 | 62 | 2 | 2008-05-21 | 2007-03-28 | 15 |  | NO |  | X
215015 |  | D13020031BCC | U S GEOLOGICAL SURVEY | MONITOR | 55 | 55 | 2 | 2007-05-21 | 2007-03-28 | 10 |  | NO |  | X
215016 |  | D13020031BCC | U S GEOLOGICAL SURVEY | MONITOR | 30 | 30 | 2 | 2007-05-21 | 2007-03-28 | 9 |  | NO |  | X
225691 |  | D12023033CDC | BRENT HAAS HAAS REVOCABLE TRUST | EXEMPT | 786 | 786 | 7 | 2016-02-18 | 2016-01-05 | 503 | 10 | NO | X | X
226941 |  | D13021003CDD | EL PASO NATURAL GAS CO LLC | OTHER | 500 | 500 | 10 | 2017-03-12 | 2017-02-14 |  |  | NO |  | X
518817 |  | D14020021CAA | BRIAN S & VODA L TALBERT | EXEMPT | 200 | 203 | 8 | 1987-08-26 | 1987-08-19 | 112 | 13 | NO | X | X
521774 | 321909110131601 | D13021008ADC | AZ STATE LAND DEPT, | EXEMPT | 78 | 78 | 8 | 1989-05-06 | 1988-07-14 | 30 | 0 | NO | C | X
525817 |  | D14023004000 | NEWMONT EXPLORATION, | OTHER | 502 | 0 | 5 | 1989-09-27 | 1989-08-31 | 0 | 0 | NO | N | X
535633 |  | D14021022000 | CONTINENTAL LIME INC, | OTHER | 0 | 0 | 0 | 1992-06-20 | 1992-06-05 | 0 | 0 | NO | N
539635 |  | D13019015DAD | VAN HORN, PALMER, | EXEMPT | 100 | 100 | 8 | 1993-07-22 | 1993-06-22 | 13 | 0 | NO | C | X
545407 |  | D13019004BAD | ANNA LANDS | EXEMPT | 100 | 100 | 8 | 1994-12-13 | 1994-08-24 | 55 | 0 | NO |  | X
549445 |  | D13023031BBC | DUNLAP OIL CO, | MONITOR | 45 | 45 | 4 | 1995-05-09 | 1995-05-03 | 40 | 0 | NO | N | X
574422 |  | D13020032BDA | ROBERT HAMMETT | EXEMPT | 309 | 308 | 6 | 1999-06-18 | 1999-04-12 | 184 | 10 | NO | X | X
590067 |  | D14020017BDD | THE CHOLLA GROUP LLC | EXEMPT |  |  |  |  | 2001-11-28 |  |  | NO
598373 |  | D14020008CDB | JANIS C. BELL | EXEMPT |  |  |  |  | 2003-05-07 |  |  | NO
598659 |  | D14020008BDD | ROGERS HEAVEN SENT RANCH, LLC | NON-EXEMPT | 140 | 140 | 12 | 2003-06-27 | 2003-05-22 | 66 | 400 | NO | X | X
601131 |  | D14019007AA0 | LAST CHANCE RANCH, | EXEMPT | 100 | 0 | 8 |  | 1981-10-19 | 60 | 1 | NO
608062 | 321328110190203 | D14020008DCD | ROBERT E SCHULTZ | NON-EXEMPT | 95 | 95 | 12 | 1960-02-01 | 1982-05-12 | 36 | 770 | NO
608069 |  | D14020003BDD | CHOLLA GROUP LLC | EXEMPT | 85 | 85 | 6 | 1955-05-20 | 1982-05-12 | 40 | 12 | NO
611035 | 322442110004101 | D12023009BBB | BRENT R. & KIMBERLY HAAS | NON-EXEMPT | 1000 | 1000 | 16 | 1968-05-25 | 1982-06-02 | 260 | 1000 | NO
611040 | 322326109590801 | D12023015ACC | RIVERVIEW, LLP | NON-EXEMPT | 603 | 603 | 16 | 1966-05-04 | 1982-06-02 | 260 | 1000 | NO
611045 |  | D13023005ABA | BRENT R. & KIMBERLY HAAS | EXEMPT | 588 | 100 | 6 |  | 1982-06-02 | 520 | 10 | NO
613549 | 321913110241701 | D13019009ACD | BLM | EXEMPT | 20 | 0 | 0 | 1930-01-01 | 1982-06-08 | 12 | 10 | NO
613617 | 322326110220901 | D12019014DAB | AZ STATE LAND DEPT, | EXEMPT | 35 | 35 | 48 | 1956-12-31 | 1982-05-26 | 19 | 0 | NO
613619 | 322122110252501 | D12019029CCD | C-SPEAR LLC | EXEMPT | 0 | 0 | 6 |  | 1982-05-26 | 53 | 0 | NO
615848 |  | D12020022BDD | BLM-PHOENIX DISTRICT, | EXEMPT | 0 | 0 | 0 |  | 1982-06-14 | 0 | 5 | NO
615851 |  | D12020025ACA | BLM-PHOENIX DISTRICT, | EXEMPT | 0 | 0 | 0 |  | 1982-06-14 | 0 | 7 | NO
615853 |  | D12020034DAB | BLM-PHOENIX DISTRICT, | EXEMPT | 0 | 0 | 0 |  | 1982-06-14 | 0 | 3 | NO
615884 | 321748110243001 | D13019021BAA | AZ STATE LAND DEPT, | EXEMPT | 100 | 100 | 8 | 1968-06-30 | 1982-06-14 | 80 | 10 | NO
615899 |  | D13021031DCD | AZ STATE LAND DEPT, | EXEMPT | 0 | 0 | 0 |  | 1982-06-14 | 0 | 2 | NO
615907 |  | D13023033BAC | AZ STATE LAND DEPT, | EXEMPT | 90 | 90 | 6 | 1940-01-01 | 1982-06-14 | 22 | 4 | NO
615950 | 321359110191001 | D14020008ACB | AZ STATE LAND DEPT, | EXEMPT | 140 | 135 | 16 | 1960-04-01 | 1982-06-14 | 44 | 2 | NO
615958 |  | D14022001CCC | AZ STATE LAND DEPT, | EXEMPT | 0 | 0 | 6 | 1976-01-01 | 1982-06-14 | 0 | 0 | NO
616467 |  | D13023032D00 | AZ STATE LAND DEPT, | EXEMPT | 0 | 0 | 0 |  | 1982-06-14 | 0 | 0 | NO
622690 | 322041110081601 | D12022031DBC | COLTER DANIEL TODD | EXEMPT | 25 | 5 | 0 | 1915-01-01 | 1982-06-11 | 20 | 5 | NO
629458 |  | D13020007DDD | C-SPEAR LLC | EXEMPT | 0 | 0 | 0 |  | 1982-07-12 | 0 | 0 | NO
629468 |  | D12019033CC0 | SCOUTEN INDUSTRIES, | EXEMPT | 0 | 0 | 0 |  | 1982-07-12 | 0 | 0 | NO
631580 |  | D14023018BCD | DO S LAND AND CATTLE LLC | EXEMPT | 165 | 165 | 6 |  | 1982-05-03 | 100 | 35 | NO
637590 |  | D13023010B00 | SEVERIN SPRINGS RANCH LLC | EXEMPT | 125 | 0 | 0 | 1915-01-01 | 1982-06-07 | 80 | 10 | NO
645666 |  | D13020031BCA | WILSON,I | EXEMPT | 34 | 34 | 48 | 1975-01-01 | 1982-06-10 | 30 | 20 | NO
646172 |  | D13022033AAD | WARBONNET RANCHES, | EXEMPT | 900 | 900 | 6 |  | 1982-05-26 | 600 | 10 | NO
646831 | 321127110090201 | D14021025AD0 | H.C. DOBSON, JR. RANCH PROPERTIES, LLC | EXEMPT | 270 | 0 | 0 | 1919-01-01 | 1982-06-14 | 180 | 12 | NO
648762 |  | D12020036BC0 | WILSON, RICHARD,F | EXEMPT | 520 | 200 | 6 | 1915-01-01 | 1982-06-14 | 60 | 7 | NO
649750 |  | D14020021BC0 | HALULA, ANTHONY,S | EXEMPT | 20 | 20 | 36 | 1940-01-01 | 1982-06-14 | 16 | 0 | NO
651304 |  | D14020017DBA | ROBERT MARK DELL'OLIVER & | EXEMPT | 50 | 0 | 0 | 1945-01-01 | 1982-06-14 | 30 | 6 | NO
804715 |  | D14019003BDD | AZ STATE LAND DEPT, | EXEMPT | 0 | 0 | 0 | 1972-01-01 | 1987-06-23 | 0 | 0 | NO
804737 |  | D14019013DCB | AZ STATE LAND DEPT, | EXEMPT | 0 | 0 | 0 |  | 1987-07-01 | 0 | 0 | NO
804980 |  | D14020028BCA | THE NATURE CONSERVANCY | NON-EXEMPT | 145 | 0 | 8 | 1981-01-01 | 1987-08-25 | 0 | 80 | NO
805039 | 322122110113201 | D12021027CAC | AZ STATE LAND DEPT, | EXEMPT | 0 | 365 | 6 | 1952-06-02 | 1987-10-02 | 0 |  | NO | I
808698 |  | D14020027CBD | ARIZONA STATE LAND DEPARTMENT | EXEMPT |  |  | 8 |  | 2004-11-01 |  |  | NO
906973 |  | D14020028ADD | NATURE CONSERVANCY IN ARIZONA | EXEMPT | 170 | 170 | 7 | 2007-07-25 | 2007-05-08 16:10 | 40 |  | NO |  | X
910204 |  | D13019024CAB | TRAVIS AND KRISTINE TIPPIT | EXEMPT | 445 | 445 | 7 | 2009-03-23 | 2008-12-17 00:10 | 140 |  | NO |  | X
917850 |  | D12023010ABA | RIVERVIEW, LLP | NON-EXEMPT | 1048 | 1048 | 12 | 2015-02-21 | 2015-02-11 | 241 | 850 | NO | X | X
205268 |  | D12023010DBA | RIVERVIEW LLP/CORONADO FARMS, LLP | NON-EXEMPT | 1000 | 1000 | 16 | 2005-04-05 | 2004-10-08 | 190 | 800 | NO | X | X
207913 |  | D13022005DAC | COLTER DANIEL TODD | EXEMPT |  |  |  |  | 2005-06-02 |  |  | NO | X
215318 |  | D13019036DAA | U S GEOLOGICAL SURVEY | MONITOR |  |  |  |  | 2007-03-28 |  |  | NO
223464 |  | D14023010BDB | THE HIGHLANDS AT INDE | NON-EXEMPT |  |  |  |  | 2014-05-06 |  |  | NO
502003 |  | D14020008CBB | ROGERS HEAVEN SENT RANCH, LLC | EXEMPT | 120 | 120 | 6 | 1982-02-06 | 1982-02-01 | 33 | 25 | NO | X | X
502022 |  | D14020021CAB | O'DONNELL,T | EXEMPT | 150 | 151 | 8 | 1982-04-02 | 1982-02-11 | 50 | 3 | NO | X | X
502244 |  | D14020028CBC | WALKER,B | NON-EXEMPT | 152 | 152 | 8 | 1982-04-02 | 1982-03-09 | 0 | 50 | NO | X | X
512441 |  | D12021025ACC | AZ STATE LAND DEPT, | EXEMPT | 700 | 20 | 6 | 1985-10-08 | 1985-09-24 | 600 | 8 | NO | X | X
513520 |  | D13019023DBA | PAUL & SARA GRECO | EXEMPT | 98 | 98 | 8 | 1986-03-08 | 1986-02-21 | 30 | 10 | NO | X | X
516029 | 321911110232901 | D13019010ACC | LISA VOGEL THE LISA VOGEL LIVING TRUST | NON-EXEMPT | 122 | 122 | 8 | 1986-11-13 | 1986-11-13 | 80 | 25 | NO | X | X
526573 | 321534110200101 | D13020032CBA | ROBERT HAMMETT | NON-EXEMPT | 118 | 118 | 12 | 1989-12-18 | 1989-11-29 | 52 | 1000 | NO | X | X
527330 |  | D13021005CCC | CAMBERN, JAMES, | EXEMPT | 115 | 115 | 8 | 1990-04-03 | 1990-03-07 | 45 | 0 | NO | X | X
535494 |  | D14021016000 | CONTINENTAL LIME INC, | OTHER | 0 | 0 | 0 | 1992-06-20 | 1992-05-26 | 0 | 0 | NO | N
540613 |  | D12019033ABD | DONNA BURKE | EXEMPT | 400 | 400 | 8 | 1993-10-06 | 1993-09-08 | 245 | 0 | NO |  | X
545694 |  | D12019033CAB | MICHAEL R GRAY | EXEMPT | 232 | 232 | 8 | 1994-12-14 | 1994-09-12 | 185 | 1 | NO | X | X
561388 |  | D13019013BAB | REVERE, ERIK, | EXEMPT | 150 | 150 | 8 | 1997-08-16 | 1997-02-14 | 68 | 0 | NO | X | X
563504 |  | D13020032CAC | LOUISA JASKULSKI | EXEMPT | 0 | 291 | 8 |  | 1997-06-25 | 48 | 0 | NO
566267 |  | D13019013DBC | SHELLEY FREEMAN | EXEMPT | 290 | 290 | 6 | 1998-03-17 | 1997-12-19 | 260 | 8 | NO | X | X
573790 |  | D14020006ADC | EMERGENCY ROOM ASSOCIATION | EXEMPT | 100 | 100 | 9 | 1999-12-21 | 1999-03-15 | 30 |  | NO |  | X
574712 |  | D13020031DBB | BARBARA CLARK | EXEMPT | 100 | 100 | 6 | 1999-12-22 | 1999-04-28 | 40 | 2 | NO | X | X
586158 |  | D14023009AAA | DAVID WALTERS | EXEMPT |  |  |  |  | 2001-03-16 |  | 20 | NO | X
598372 |  | D14020008DCD | THE NATURE CONSERVANCY | NON-EXEMPT |  |  |  |  | 2003-05-06 |  |  | NO
602778 |  | D13020031BBC | GORDON, RANDALL,J | NON-EXEMPT | 110 | 110 | 6 | 1972-03-01 | 1982-02-10 | 30 | 50 | NO
603824 |  | D13019022BAD | FRUITMAN TRUST, | NON-EXEMPT | 200 | 150 | 8 | 1971-01-01 | 1982-02-09 | 75 | 80 | NO
608053 |  | D13020031CAA | BARBARA CLARK | NON-EXEMPT | 100 | 100 | 6 | 1980-11-20 | 1982-05-12 | 30 | 40 | NO
608054 |  | D14020008CBB | ROGERS HEAVEN SENT RANCH, LLC | NON-EXEMPT | 130 | 124 | 6 | 1982-02-10 | 1982-05-12 | 55 | 45 | NO
608056 | 321347110193201 | D14020008BCB | DON ROGERS ROGERS HEAVEN SENT RANCH LLC | NON-EXEMPT | 125 | 125 | 16 | 1960-06-01 | 1982-05-12 | 23 | 950 | NO
608057 | 321435110194801 | D14020006DAD | RANDALL MASON | NON-EXEMPT | 136 | 136 | 16 | 1951-01-20 | 1982-05-12 | 23 | 1250 | NO
608066 | 321255110191101 | D14020017ACC | THE NATURE CONSERVANCY | NON-EXEMPT | 75 | 75 | 6 | 1965-07-01 | 1982-05-12 | 25 | 60 | NO
608073 |  | D14020010CCA | CHOLLA GROUP LLC | EXEMPT | 95 | 95 | 6 | 1956-10-01 | 1982-05-12 | 43 | 10 | NO
608075 | 321419110195601 | D14020006DDC | EMERGENCY ROOM ASSOC, | EXEMPT | 45 | 45 | 6 | 1954-01-01 | 1982-05-12 | 15 | 10 | NO
611032 | 322245110004001 | D12023021BCB | BRENT R. & KIMBERLY HAAS | NON-EXEMPT | 805 | 805 | 16 | 1969-05-01 | 1982-06-02 | 260 | 1000 | NO
613610 | 322042110251801 | D12019032DBD | C-SPEAR LLC | NON-EXEMPT | 0 | 0 | 16 |  | 1982-05-26 | 0 | 0 | NO
613615 |  | D12020005DDD | AZ STATE LAND DEPT, | EXEMPT | 0 | 0 | 0 |  | 1982-05-26 | 0 | 0 | NO
613618 | 322325110220801 | D12019014DAB | C-SPEAR LLC | EXEMPT | 0 | 0 | 0 |  | 1982-05-26 | 108 | 0 | NO
613620 |  | D12019032BBD | C-SPEAR LLC | EXEMPT | 30 | 30 | 0 |  | 1982-05-26 | 11 | 35 | NO
615844 |  | D12020001BDA | BLM-PHOENIX DISTRICT, | EXEMPT | 0 | 0 | 0 |  | 1982-06-14 | 0 | 5 | NO
615854 |  | D12021036CAB | AZ STATE LAND DEPT, | EXEMPT | 0 | 0 | 6 | 1951-01-01 | 1982-06-14 | 0 | 5 | NO | X
615962 | 321312110080801 | D14022018ADA | AZ STATE LAND DEPT, | EXEMPT | 490 | 0 | 0 | 1945-01-01 | 1982-06-14 | 390 | 5 | NO
617544 | 321944110241801 | D13019004000 | STEPHEN L BROWN | NON-EXEMPT | 135 | 135 | 14 | 1950-12-31 | 1982-06-07 | 18 | 750 | NO
622684 |  | D13022006BC0 | ARIZONA STATE LAND DEPARTMENT | EXEMPT | 45 | 10 | 0 | 1939-01-01 | 1982-06-11 | 43 | 3 | NO
622686 | 322003110070101 | D13022005ADC | COLTER DANIEL TODD | EXEMPT | 20 | 6 | 0 | 1915-01-01 | 1982-06-11 | 19 | 2 | NO
629467 |  | D13019010ACD | NATURE CONSERVANCY, | EXEMPT | 0 | 0 | 0 |  | 1982-07-12 | 0 | 0 | NO
631052 |  | D13022009CAC | TODD,L L | EXEMPT | 25 | 0 | 0 |  | 1982-03-22 | 15 | 15 | NO
631183 | 321854110162501 | D13020011DBA | RAFTER WALKING K, LLC | EXEMPT | 12 | 12 | 6 | 1938-01-01 | 1982-06-07 | 6 | 2 | NO
637586 |  | D13023032D00 | SEVERIN SPRINGS RANCH LLC | EXEMPT | 195 | 195 | 5 | 1955-01-01 | 1982-06-07 | 170 | 7 | NO
637599 |  | D13023022C00 | DUBOIS,M | EXEMPT | 80 | 0 | 0 | 1965-01-01 | 1982-06-07 | 70 | 5 | NO
646833 |  | D14021022B00 | ARIZONA STATE LAND DEPARTMENT | EXEMPT | 0 | 0 | 0 |  | 1982-06-14 | 0 | 0 | NO
646840 |  | D14020001BC0 | ARIZONA STATE LAND DEPARTMENT | EXEMPT | 46 | 0 | 0 | 1945-01-01 | 1982-06-14 | 20 | 3 | NO
648763 |  | D13020001BB0 | WILSON, RICHARD,F | EXEMPT | 100 | 100 | 6 |  | 1982-06-14 | 20 | 7 | NO
649749 |  | D14020021BC0 | HALULA, ANTHONY,S | EXEMPT | 25 | 5 | 10 | 1940-01-01 | 1982-06-14 | 20 | 0 | NO
800527 | 322515109591001 | D12023003A00 | HAAS, RANDALL,C | NON-EXEMPT | 800 | 0 | 16 |  | 1982-07-21 | 250 | 0 | NO
800540 |  | D12023010B00 | WENDELL A. REEDER | NON-EXEMPT | 600 | 600 | 16 | 1960-01-01 | 1983-05-31 | 140 | 1200 | NO
805038 | 321752110161401 | D13020014DDC | AZ STATE LAND DEPT, | EXEMPT | 0 | 0 | 8 |  | 1987-10-02 | 40 | 0 | NO
809562 |  | D12023010A00 | RODNEY D. BOHLENDER | NON-EXEMPT | 1050 | 1050 | 10 |  | 2011-09-02 | 220 | 750 | NO
087190 |  | D12019032DBB | C-SPEAR LLC | NON-EXEMPT | 123 | 123 | 16 | 1981-01-01 | 1997-09-24 | 20 | 0 | NO
200579 |  | D13021001AAA | AGRIPINO RIVERA | EXEMPT | 240 | 240 | 7 | 2004-07-24 | 2003-09-29 | 73 |  | NO | X | X
215005 |  | D13019022ADD | U S GEOLOGICAL SURVEY | MONITOR | 30 | 30 | 2 | 2007-05-21 | 2007-03-28 | 14 |  | NO |  | X
217230 |  | D14023010AAA | WILLIAM AND LAURETTA RESOR | NON-EXEMPT |  |  |  |  | 2008-02-06 |  |  | NO
225614 |  | D14020008DBC | JANIS C. BELL | NON-EXEMPT | 120 | 120 | 8 | 2015-12-30 | 2015-11-24 | 65 | 65 | NO | X | X
235818 |  | D14023010ACA | WILLIAM AND LAURETTA RESOR | EXEMPT |  |  |  |  | 2021-11-15 |  |  | NO
501541 |  | D14023009DDD | KENNETH A. MARTELLA | EXEMPT | 450 | 450 | 10 | 1982-01-01 | 1997-09-24 | 350 | 0 | NO | X | X
512843 |  | D13019024DCA | DUFF, ALBERT,S | NON-EXEMPT | 440 | 20 | 8 | 1986-08-08 | 1985-11-21 | 0 | 0 | NO | N | X
513309 |  | D13019025DBD | RUSSELL & RIVER BOGGS/ELDERHOLLY | EXEMPT | 85 | 85 | 8 | 1986-03-08 | 1986-01-28 | 60 | 0 | NO | C | X
514874 | 321415109585701 | D14023010BAA | EUGENE STEMPLE | EXEMPT | 606 | 606 | 7 | 2016-08-31 | 1986-07-15 | 376 | 10 | NO | X | X
520298 |  | D14020008CBD | DON ROGERS ROGERS HEAVEN SENT RANCH LLC | EXEMPT | 115 | 116 | 8 | 1988-02-08 | 1988-02-17 | 40 | 10 | NO | X | X
521871 |  | D13019024DDA | MATSON, RALPH & JANE, | EXEMPT | 77 | 77 | 8 | 1988-07-26 | 1988-07-25 | 65 | 30 | NO | X | X
521927 |  | D13021002CCB | CAMBERN, JAMES, | EXEMPT | 470 | 470 | 8 | 1989-03-30 | 1988-07-28 | 375 | 3 | NO | X | X
528874 |  | D13020030AAD | SMITH, LINDA,D | EXEMPT | 0 | 0 | 0 |  | 1990-07-24 | 0 | 0 | NO
534485 |  | D13023029C00 | PEGASUS GOLD CORP, | OTHER | 215 | 0 | 0 | 1992-03-28 | 1992-02-14 | 0 | 0 | NO | N | X
535495 |  | D14021015000 | CONTINENTAL LIME INC, | OTHER | 0 | 0 | 0 | 1992-06-20 | 1992-05-26 | 0 | 0 | NO | N
539307 |  | D12021036CAB | ARIZONA STATE LAND DEPARTMENT | EXEMPT | 945 | 915 | 8 | 1993-06-29 | 1993-05-27 | 650 | 8 | NO | X | X
545087 |  | D14022015BBA | KENNECOTT EXPLORATN, | OTHER | 220 | 0 | 0 | 1994-08-25 | 1994-08-01 | 0 | 0 | NO | N | X
545088 |  | D14022010DAA | KENNECOTT EXPLORATN, | OTHER | 220 | 0 | 0 | 1994-08-19 | 1994-08-01 | 0 | 0 | NO | N | X
546284 |  | D12019018DCC | KENNECOTT EXPLORATIO,N | OTHER | 0 | 0 | 0 | 1994-11-17 | 1994-10-27 | 0 | 0 | NO | N | X
589398 |  | D13019013ACC | FRANCES J GIBBS | EXEMPT | 405 | 405 | 5 | 2002-01-10 | 2001-10-15 | 278 | 10 | NO | X | X
601421 |  | D14023020CBD | ARIZONA STATE LAND DEPARTMENT | EXEMPT | 140 | 0 | 6 | 1976-01-01 | 1982-01-14 | 70 | 10 | NO
608055 |  | D14020006ABB | GERALD & SANDRA GAMBLIN | NON-EXEMPT | 118 | 118 | 14 | 1950-08-01 | 1982-05-12 | 23 | 1000 | NO
608060 | 321254110191001 | D14020017ACC | THE NATURE CONSERVANCY | NON-EXEMPT | 110 | 110 | 16 | 1962-01-31 | 1982-05-12 | 35 | 975 | NO
608065 | 321408110193201 | D14020008BBA | DON ROGERS ROGERS HEAVEN SENT RANCH LLC | NON-EXEMPT | 100 | 100 | 6 | 1955-01-20 | 1982-05-12 | 42 | 60 | NO
608068 |  | D14020020CAD | THREE BAR K, LLC | NON-EXEMPT | 59 | 59 | 6 | 1941-06-10 | 1982-05-12 | 20 | 40 | NO
611041 | 322404109595501 | D12023009DCB | RIVERVIEW, LLP | NON-EXEMPT | 1200 | 1200 | 16 | 1966-05-30 | 1982-06-02 | 260 | 1000 | NO
611043 | 322430110001001 | D12023009ACB | RIVERVIEW, LLP | NON-EXEMPT | 1170 | 1170 | 16 | 1966-05-30 | 1982-06-02 | 260 | 1000 | NO
611044 | 322445110001301 | D12023009ABB | RIVERVIEW, LLP | NON-EXEMPT | 1140 | 1140 | 16 | 1966-05-30 | 1982-06-02 | 260 | 1000 | NO
611046 |  | D12023034CDB | BRENT R. & KIMBERLY HAAS | EXEMPT | 400 | 100 | 6 |  | 1982-06-02 | 280 | 10 | NO
611047 |  | D12023021DAB | BRENT R. & KIMBERLY HAAS | EXEMPT | 100 | 50 | 6 |  | 1982-06-02 | 100 | 10 | NO
613526 |  | D13019009DAA | CITY OF TUCSON - REAL ESTATE DIVISION | NON-EXEMPT | 122 | 122 | 16 | 1980-06-30 | 1982-06-08 | 17 | 800 | NO
615892 | 321559110255801 | D13019032BBC | AZ STATE LAND DEPT, | EXEMPT | 110 | 110 | 6 | 1960-12-21 | 1982-06-14 | 70 | 15 | NO
615894 | 321841110201501 | D13020007DDD | AZ STATE LAND DEPT, | EXEMPT | 440 | 440 | 6 | 1952-01-01 | 1982-06-14 | 370 | 10 | NO
615900 | 322004110082801 | D13022006ACB | AZ STATE LAND DEPT, | EXEMPT | 45 | 0 | 0 | 1939-12-31 | 1982-06-14 | 44 | 0 | NO
615949 | 321433110182401 | D14020004CAC | AZ STATE LAND DEPT, | EXEMPT | 120 | 120 | 6 | 1955-12-31 | 1982-06-14 | 103 | 0 | NO
615953 | 321458110095101 | D14021001BBB | AZ STATE LAND DEPT, | EXEMPT | 620 | 620 | 6 |  | 1982-06-14 | 400 | 0 | NO
615959 | 321410110045701 | D14022010AAC | AZ STATE LAND DEPT, | EXEMPT | 600 | 0 | 5 | 1944-03-01 | 1982-06-14 | 0 | 4 | NO
622688 | 321949110070001 | D13022005DAC | COLTER DANIEL TODD | EXEMPT | 164 | 20 | 6 | 1976-12-11 | 1982-06-11 | 110 | 8 | NO
629459 |  | D13019024AAA | SCOUTEN INDUSTRIES, | EXEMPT | 0 | 0 | 0 |  | 1982-07-12 | 0 | 0 | NO
629464 | 321822110233001 | D13019015CCD | SCOUTEN INDUSTRIES, | EXEMPT | 0 | 0 | 0 |  | 1982-07-12 | 0 | 0 | NO
629713 | 321744110121801 | D13021021ABA |  | EXEMPT | 250 | 250 | 6 | 1933-01-01 | 1982-03-01 | 175 | 15 | NO
629715 | 321753110122201 | D13021016DCC | SUNNY MESA, INC. | EXEMPT | 250 | 250 | 6 | 1921-01-01 | 1982-03-01 | 140 | 15 | NO
631053 |  | D13022009CAC | TODD,L L | EXEMPT | 20 | 0 | 0 |  | 1982-03-22 | 10 | 10 | NO
631182 | 321727110154301 | D13020024BDB | RAFTER WALKING K, LLC | EXEMPT | 400 | 380 | 6 | 1912-01-01 | 1982-06-07 | 340 | 3 | NO
637582 |  | D13023004D00 | SEVERIN SPRINGS RANCH LLC | EXEMPT | 256 | 256 | 8 | 1955-01-01 | 1982-06-07 | 216 | 7 | NO
637775 |  | D12021031CC0 | BLM-SAFFORD DISTRICT, | EXEMPT | 0 | 0 | 0 |  | 1982-06-14 | 0 | 10 | NO
637779 |  | D13021006AA0 | NATURE CONSERVANCY, | EXEMPT | 0 | 0 | 0 |  | 1982-06-14 | 1 | 8 | NO
805151 |  | D13019009BDA | AZ STATE LAND DEPT, | EXEMPT | 0 | 0 | 6 |  | 1988-02-23 | 20 | 3 | NO
805714 | 322135110231701 | D12019027DBD | C-SPEAR LLC | EXEMPT | 200 | 0 | 0 | 1942-12-31 01:00 | 1990-03-12 | 185 | 0 | NO
805942 |  | D12019023BDA | C-SPEAR LLC | EXEMPT | 150 | 0 | 8 | 1950-12-31 | 1990-11-15 | 0 | 5 | NO
808765 |  | D14020027CBD | ARIZONA STATE LAND DEPARTMENT | EXEMPT |  |  | 9 | 1980-01-01 | 2005-02-28 |  |  | NO
908369 |  | D13020019CCC | WILLIAM C. 'JAKE' SCOTT | EXEMPT | 380 | 380 | 5 | 2008-10-23 | 2008-01-18 15:34 | 205 |  | NO |  | X
909738 |  | D13019023AAB | GAIL L. COVELAND JAMES E. FLOOD | EXEMPT | 277 | 277 | 7 | 2008-11-26 | 2008-09-15 21:44 | 165 |  | NO |  | X
213173 |  | D13020029BDA | CASPUR WESTCOTT | EXEMPT | 555 | 555 | 6 | 2006-09-17 | 2006-08-08 | 466 |  | NO |  | X
223953 |  | D13019023CAC | KAI STAATS | EXEMPT | 164 | 164 | 7 | 2014-12-16 | 2014-09-22 | 45 |  | NO |  | X
226891 |  | D12023003ABB | RANDY HAAS | NON-EXEMPT | 1040 | 1040 | 12 | 2017-02-16 | 2017-02-06 | 243 |  | NO |  | X
235449 |  | D14023010ABC | WILLIAM AND LAURETTA RESOR | EXEMPT | 695 | 695 | 7 |  | 2021-10-04 | 390 |  | NO |  | X
501563 |  | D13019005ABA | CITY OF TUCSON | EXEMPT | 148 | 148 | 8 | 1982-01-01 | 1997-09-24 | 40 | 15 | NO | X | X
502111 |  | D14020021BCD | SLEEPING FROG FARMS LLC | EXEMPT | 204 | 204 | 8 | 1982-02-18 | 1982-02-24 | 38 | 2 | NO | X | X
507615 |  | D13019023CAA | THOMAS B & KATIE C TALBOTT | EXEMPT | 84 | 84 | 6 | 1984-04-02 | 1984-03-29 | 20 | 35 | NO | X | X
515970 |  | D13019023DAB | THOMAS, CHARLES,E | EXEMPT | 122 | 122 | 8 | 1986-11-12 | 1986-11-03 | 60 | 15 | NO | X | X
518219 |  | D13019010DCD | BERNARD, VICTOR, | NON-EXEMPT | 0 | 0 | 0 |  | 1987-06-19 | 0 | 0 | NO
521860 |  | D13019013ACB | CASCABEL RANCH PROP, | EXEMPT | 400 | 400 | 9 | 1989-04-12 | 1988-07-22 | 250 | 0 | NO | C | X
525816 |  | D14023005000 | NEWMONT EXPLORATION, | OTHER | 558 | 0 | 5 | 1989-09-12 | 1989-08-31 | 0 | 0 | NO | N | X
526730 |  | D13019022AAA | CASCABELL COMMUNITY, | EXEMPT | 103 | 103 | 6 | 1990-07-26 | 1989-12-21 | 50 | 10 | NO | X | X
545085 |  | D14022022DBD | KENNECOTT EZPLORATN, | OTHER | 0 | 0 | 0 |  | 1994-08-01 | 0 | 0 | NO | N
549082 |  | D13019013BDB | BRIBACH, STEVEN, | EXEMPT | 0 | 0 | 0 |  | 1995-04-07 | 0 | 0 | NO
567431 |  | D13019013BAD | RICHARD N & HELEN K HENDERSON | EXEMPT | 140 | 140 | 6 | 1998-06-28 | 1998-02-25 | 68 |  | NO |  | X
569915 |  | D13020023DCC | DAVE AND EARLENE HARRIS REVOCABLE TRUST | EXEMPT | 693 | 693 | 6 | 1999-04-29 | 1998-09-24 | 425 |  | NO |  | X
572943 |  | D13019024BCB | EDWARD F DE PALMA | EXEMPT | 300 | 300 | 5 | 1999-03-11 | 1999-01-27 | 148 |  | NO |  | X
588191 | 321412110002001 | D14023009BAA | DAVID WALTERS | EXEMPT | 605 | 605 | 5 | 2001-08-11 | 2001-07-30 | 351 | 50 | NO | X | X
603310 |  | D14019019BD0 | HAPPY VALLEY RANCH, LLC | EXEMPT | 40 | 0 | 4 | 1920-01-01 | 1982-03-01 | 20 | 25 | NO
603369 |  | D13020031ABD | THE OASIS SANCTUARY FOUNDATION LTD | EXEMPT | 148 | 130 | 14 | 1970-01-01 | 1982-03-08 | 70 | 30 | NO
603729 |  | D13020031AAB | KENNETH & SUSAN CONNOR | EXEMPT | 120 | 120 | 6 | 1976-04-08 | 1982-02-03 | 47 | 23 | NO
604604 |  | D13019004CBC | HUGHES,J K | NON-EXEMPT | 150 | 0 | 16 | 1942-01-01 | 1982-02-05 | 18 | 1000 | NO
608058 |  | D14020008ACB | ARIZONA STATE LAND DEPARTMENT | NON-EXEMPT | 110 | 110 | 16 | 1961-04-01 | 1982-05-12 | 60 | 500 | NO
611036 | 322235110001001 | D12023021ACC | RIVERVIEW, LLP | NON-EXEMPT | 700 | 700 | 16 | 1967-02-16 | 1982-06-02 | 260 | 1000 | NO
611040 | 322330109591001 | D12023015ACC | RIVERVIEW, LLP | NON-EXEMPT | 603 | 603 | 16 | 1966-05-04 | 1982-06-02 | 260 | 1000 | NO
611050 | 322038110014801 | D12023031DAA | BRENT R. & KIMBERLY HAAS | EXEMPT | 777 | 100 | 6 |  | 1982-06-02 | 680 | 10 | NO
613535 |  | D13019030DBA | PIMA COUNTY NATURAL RESOURCES, PARKS AND RECREATION DEPT. | EXEMPT | 90 | 0 | 0 | 1930-01-01 | 1982-06-08 | 70 | 6 | NO
613536 |  | D13019021BAA | CITY OF TUCSON - REAL ESTATE DIVISION | EXEMPT | 100 | 0 | 0 | 1968-06-30 | 1982-06-08 | 80 | 10 | NO
613609 | 322057110252001 | D12019032DBA | C-SPEAR LLC | NON-EXEMPT | 0 | 0 | 16 | 1956-09-01 | 1982-05-26 | 13 | 150 | NO
615852 |  | D12020033CDD | BLM-PHOENIX DISTRICT, | EXEMPT | 0 | 0 | 0 |  | 1982-06-14 | 0 | 3 | NO
615948 | 321457110152801 | D14020001BAD | AZ STATE LAND DEPT, | EXEMPT | 0 | 0 | 4 |  | 1982-06-14 | 96 | 5 | NO | X
615954 |  | D14021011BCB | AZ STATE LAND DEPT, | EXEMPT | 0 | 0 | 8 |  | 1982-06-14 | 233 | 15 | NO
615956 | 321154110143001 | D14021019CDB | AZ STATE LAND DEPT, | EXEMPT | 0 | 0 | 0 |  | 1982-06-14 | 116 | 5 | NO
617546 | 321915110234501 | D13019010B00 | STEPHEN L BROWN | EXEMPT | 196 | 100 | 14 | 1946-01-01 | 1982-06-07 | 0 | 22 | NO
622211 |  | D14021018CCA | ARIZONA STATE LAND DEPARTMENT | EXEMPT | 435 | 0 | 0 |  | 1982-06-14 | 402 | 0 | NO
622214 |  | D14021013BBB | ARIZONA STATE LAND DEPARTMENT | EXEMPT | 140 | 140 | 6 |  | 1982-06-14 | 0 | 0 | NO
631185 |  | D13020014CBD | STATE OF ARIZONA | EXEMPT | 600 | 0 | 6 | 1960-01-01 | 1982-06-07 | 580 | 2 | NO
631865 |  | D13019023BCC | TAYLOR,M K | EXEMPT | 90 | 90 | 8 | 1955-01-01 | 1982-03-30 | 32 | 35 | NO
637594 |  | D13023019A00 | SEVERIN SPRINGS RANCH LLC | EXEMPT | 20 | 0 | 0 | 1915-01-01 | 1982-06-07 | 10 | 5 | NO
645667 |  | D13020031BCC | CLARK,B J | EXEMPT | 90 | 90 | 8 | 1970-01-01 | 1982-06-10 | 40 | 30 | NO
648767 |  | D12020011AD0 | WILSON, RICHARD,F | EXEMPT | 420 | 400 | 6 |  | 1982-06-14 | 25 | 8 | NO
800167 |  | D13019022AA0 | HOBBS SR,J D | EXEMPT | 100 | 0 | 6 | 1935-01-01 | 1982-08-23 | 16 | 3 | NO
801902 |  | D12020021C00 | C-SPEAR LLC | EXEMPT | 0 | 0 | 0 |  | 1984-12-24 | 0 | 0 | NO
804558 |  | D14020021BDC | SLEEPING FROG FARMS LLC | EXEMPT | 280 | 280 | 8 | 1979-08-23 | 1987-03-18 | 80 | 15 | NO
804714 | 321329110232601 | D14019010CCA | AZ STATE LAND DEPT, | EXEMPT | 0 | 0 | 0 | 1963-08-22 | 1987-06-23 | 0 | 0 | NO
805473 | 321222110032501 | D14022024BBD | AZ STATE LAND DEPT, | EXEMPT | 400 | 0 | 6 | 1971-12-31 | 1989-06-02 | 0 | 5 | NO
805715 | 322438110184301 | D12020009BAA | C-SPEAR LLC | EXEMPT | 30 | 0 | 0 | 1930-12-31 | 1990-03-12 | 9 | 2 | NO
805944 | 322210110204501 | D12020019CD0 | C-SPEAR LLC | EXEMPT | 0 | 0 | 0 | 1899-12-31 | 1990-11-15 | 0 | 5 | NO
805947 | 322109110253301 | D12019032BAD | C-SPEAR LLC | NON-EXEMPT | 130 | 130 | 16 | 1940-12-31 | 1990-11-15 | 27 | 1000 | NO
913027 |  | D14021009000 | INFRASTRUCTURE MATERIALS US CORP | OTHER |  |  |  |  | 2011-03-08 10:47 |  |  | NO
215317 |  | D13019036DAA | U S GEOLOGICAL SURVEY | MONITOR |  |  |  |  | 2007-03-28 |  |  | NO
222941 |  | D13021005CAA | RUSS KELLER | EXEMPT | 326 | 326 | 7 | 2014-02-03 | 2014-01-16 | 73 |  | NO |  | X
235063 |  | D13019012CCB | PATRICK MCGINNIS | EXEMPT |  |  |  |  | 2021-07-27 |  |  | NO
513272 |  | D14021025DBB | H.C. DOBSON, JR. RANCH PROPERTIES, LLC | NON-EXEMPT | 427 | 403 | 8 | 1986-03-31 | 1986-01-23 | 291 | 11 | NO | X | X
516731 |  | D13020031CAB | MATTAUSCH, ARMOND, | NON-EXEMPT | 0 | 0 | 0 |  | 1987-02-05 | 0 | 0 | NO
518544 | 321247109591001 | D14023015DCB | KENNETH A. MARTELLA | NON-EXEMPT | 550 | 550 | 24 | 1988-05-12 | 1987-07-20 | 240 | 900 | NO | X | X
525466 |  | D13020031BCB | CLARK, MARGARET, | EXEMPT | 128 | 128 | 8 | 1989-08-30 | 1989-08-02 | 55 | 35 | NO | X | X
527527 |  | D13019022CAD | WHITT, MICHAEL, | EXEMPT | 125 | 125 | 10 | 1990-05-19 | 1990-03-19 | 45 | 15 | NO | X | X
533834 |  | D13019010DBB | LISA VOGEL THE LISA VOGEL LIVING TRUST | EXEMPT | 120 | 120 | 8 | 1992-03-03 | 1991-12-02 | 50 | 0 | NO | N | X
534793 |  | D13019025BDA | VICTOR STAN CHRISTOPHER | EXEMPT | 305 | 305 | 8 | 1992-04-15 | 1992-03-26 | 0 | 20 | NO | X | X
539606 |  | D13019025DCD | JAMES & CHRISTOPHER CALLEGARY/EASTOE | EXEMPT | 115 | 115 | 8 | 1993-07-07 | 1993-06-17 | 65 | 25 | NO | X | X
541427 |  | D13022017AAA | EL PASO NATURAL GAS, | OTHER | 440 | 440 | 8 | 1993-12-01 | 1993-11-05 | 0 | 0 | NO | N | X
545432 |  | D12019033CCA | GEORGE & DONNA BUSHNO | EXEMPT | 105 | 105 | 8 | 1994-12-11 | 1994-08-26 | 70 | 0 | NO |  | X
545828 |  | D13020007BCC | STATE TRUST LAND, | EXEMPT | 0 | 0 | 0 |  | 1994-09-21 | 0 | 0 | NO
546954 | 321208110190701 | D14020020ACD | THREE BAR K, LLC | EXEMPT | 114 | 114 | 8 | 1995-04-10 | 1994-12-09 | 35 | 15 | NO | X | X
553292 |  | D13019012DDC | SAGUARO JUNIPER CORP, | EXEMPT | 0 | 0 | 0 |  | 1995-12-06 | 0 | 0 | NO
553507 |  | D12019033CBA | SEAN F. RILEY | EXEMPT | 592 | 585 | 10 | 1996-03-09 | 1995-12-18 | 110 | 16 | NO | X | X
554053 |  | D13019013BDB | WILLIAM B. & EDITH N. CUNDIFF | EXEMPT | 320 | 320 | 8 | 1996-09-28 | 1996-01-31 | 180 | 20 | NO | X | X
555116 |  | D13019024BAB | ROGERS, GUY,R | EXEMPT | 165 | 165 | 8 | 1996-02-24 | 1996-01-29 | 126 | 0 | NO | C | X
559407 |  | D12023003DAA | HAAS, RANDY, | EXEMPT | 501 | 501 | 8 | 1996-11-25 | 1996-08-20 | 220 | 30 | NO | X | X
562886 |  | D14023009CDD | INDE MOTORSPORT RANCH LLC | EXEMPT | 560 | 560 | 6 | 1997-06-24 | 1997-05-21 | 180 | 0 | NO |  | X
597352 |  | D13020031A00 | IVAN J. WILSON | EXEMPT | 120 | 120 | 6 | 2003-12-08 | 2003-02-25 | 42 | 12 | NO | X | X
602534 |  | D13019004DAC | DOROTHY L. MOTHERAL | EXEMPT | 170 | 170 | 6 | 1980-08-06 | 1982-02-11 | 55 | 10 | NO
603773 |  | D14020021BCC | SLEEPING FROG FARMS LLC | EXEMPT | 60 | 60 | 12 | 1955-10-11 | 1982-02-09 | 36 | 230 | NO
603774 | 321229110183801 | D14020021BBB | SLEEPING FROG FARMS LLC | NON-EXEMPT | 65 | 65 | 16 | 1964-08-22 | 1982-02-09 | 32 | 800 | NO
604605 | 321945110243101 | D13019004CAA | BLM-SAFFORD DISTRICT, | EXEMPT | 33 | 0 | 16 | 1968-01-01 | 1982-02-05 | 14 | 20 | NO
607857 |  | D13019004DBD | SWEETWATER CENTER | EXEMPT | 50 | 50 | 6 | 1960-06-27 | 1982-05-12 | 16 | 34 | NO
608061 | 321211110190801 | D14020020ACD | THREE BAR K, LLC | NON-EXEMPT | 75 | 75 | 16 | 1953-07-01 | 1982-05-12 | 25 | 900 | NO
608063 | 321328110193301 | D14020008CCA | KENTON M NAKKEN | NON-EXEMPT | 95 | 95 | 16 | 1960-01-01 | 1982-05-12 | 35 | 600 | NO
608070 | 321615110224701 | D13019026CCA | JOSEPH CARRASCO | EXEMPT | 110 | 110 | 6 | 1951-01-30 | 1982-05-12 | 90 | 10 | NO
611039 | 322330109593701 | D12023015BCC | RIVERVIEW, LLP | NON-EXEMPT | 1510 | 1510 | 16 | 1967-02-15 | 1982-06-02 | 260 | 1000 | NO
613612 | 322252110201501 | D12020019AAA | C-SPEAR LLC | EXEMPT | 58 | 21 | 2 | 1970-09-01 | 1982-05-26 | 0 | 0 | NO
613613 |  | D12020019CBC | C-SPEAR LLC | EXEMPT | 48 | 12 | 2 | 1970-02-01 | 1982-05-26 | 0 | 0 | NO
613616 | 322248110224501 | D12019023ACB | AZ STATE LAND DEPT, | EXEMPT | 100 | 12 | 6 |  | 1982-05-26 | 7 | 0 | NO
615846 |  | D12020017BCB | AZ STATE LAND DEPT, | EXEMPT | 0 | 0 | 0 |  | 1982-06-14 | 0 | 2 | NO
615898 | 321838110114301 | D13021010CCD | AZ STATE LAND DEPT, | EXEMPT | 300 | 300 | 6 | 1936-06-01 | 1982-06-14 | 215 | 5 | NO
615904 | 321526110055701 | D13022033DAC | AZ STATE LAND DEPT, | EXEMPT | 1000 | 1000 | 6 | 1978-12-31 | 1982-06-14 | 400 | 0 | NO
615908 |  | D13023034BBA | AZ STATE LAND DEPT, | EXEMPT | 235 | 235 | 6 | 1939-12-31 | 1982-06-14 | 154 | 4 | NO
615961 | 321336110032801 | D14022012CDC | AZ STATE LAND DEPT, | EXEMPT | 250 | 0 | 6 | 1981-08-30 | 1982-06-14 | 85 | 34 | NO
617543 |  | D13019010B00 | STEPHEN L BROWN | NON-EXEMPT | 100 | 100 | 14 |  | 1982-06-07 | 18 | 750 | NO
617545 |  | D13019010B00 | STEPHEN L BROWN | EXEMPT | 100 | 100 | 6 |  | 1982-06-07 | 17 | 12 | NO
622683 | 322041110093301 | D12021036CA0 | ARIZONA STATE LAND DEPARTMENT | EXEMPT | 729 | 650 | 6 | 1951-01-01 | 1982-06-11 | 375 | 8 | NO
622687 |  | D13022005AD0 |  | EXEMPT | 18 | 6 | 0 | 1915-01-01 | 1982-06-11 | 16 | 3 | NO
629457 |  | D13020032CDC | C-SPEAR LLC | EXEMPT | 0 | 0 | 0 |  | 1982-07-12 | 0 | 0 | NO
629460 |  | D13019024DCC | SCOUTEN INDUSTRIES, | EXEMPT | 0 | 0 | 0 |  | 1982-07-12 | 0 | 0 | NO
629462 | 321702110225601 | D13019023CCC | SCOUTEN INDUSTRIES, | EXEMPT | 0 | 0 | 0 |  | 1982-07-12 | 0 | 0 | NO
629463 | 321754110233001 | D13019015CCD | SCOUTEN INDUSTRIES, | EXEMPT | 0 | 0 | 0 |  | 1982-07-12 | 0 | 0 | NO
629715 | 321748110122301 | D13021016DCC | SUNNY MESA, INC. | EXEMPT | 250 | 250 | 6 | 1921-01-01 | 1982-03-01 | 140 | 15 | NO
631184 | 321656110131201 | D13021020DCD | KT CATTLE INC. | EXEMPT | 352 | 0 | 6 | 1940-01-01 | 1982-06-07 | 340 | 5 | NO
631866 |  | D13019023BC0 | PHILLIPS/HAWKIINS/NEWMAN/WERT | EXEMPT | 100 | 100 | 6 | 1968-01-01 | 1982-03-30 | 40 | 35 | NO
632518 | 320837110003801 | D14023009CBB | INDE MOTORSPORT RANCH LLC | EXEMPT | 600 | 0 | 8 | 1975-01-01 | 1982-05-03 | 200 | 22 | NO
637584 |  | D13023016B00 | SEVERIN SPRINGS RANCH LLC | EXEMPT | 50 | 0 | 0 | 1930-01-01 | 1982-06-07 | 40 | 8 | NO
637585 |  | D13023033B00 | SEVERIN SPRINGS RANCH LLC | EXEMPT | 90 | 90 | 6 | 1940-01-01 | 1982-06-07 | 15 | 8 | NO
637780 |  | D13021006AA0 | NATURE CONSERVANCY, | EXEMPT | 0 | 0 | 0 |  | 1982-06-14 | 1 | 8 | NO
641729 |  | D14023010AD0 | PALMER,R A | EXEMPT | 350 | 350 | 6 | 1976-02-03 | 1982-05-12 | 0 | 10 | NO
643401 |  | D12019024DBC | BLM-SAFFORD DISTRICT, | EXEMPT | 492 | 80 | 6 | 1973-05-07 | 1982-05-27 | 0 | 0 | NO
645891 | 321127110262301 | D14019030BAC | CLOPTON,C Z | EXEMPT | 40 | 3 | 0 | 1905-01-01 | 1982-05-21 | 35 | 5 | NO
646173 |  | D13022028DCB | WARBONNET RANCHES, | EXEMPT | 600 | 600 | 6 |  | 1982-05-28 | 300 | 10 | NO
646837 |  | D14022018AD0 | ARIZONA STATE LAND DEPARTMENT | EXEMPT | 490 | 0 | 0 | 1945-01-01 | 1982-06-14 | 390 | 5 | NO
646838 |  | D14021010AC0 | ARIZONA STATE LAND DEPARTMENT | EXEMPT | 462 | 0 | 0 | 1919-01-01 | 1982-06-14 | 350 | 5 | NO
649022 |  | D12019033CCC | FERRY,J P | EXEMPT | 0 | 0 | 5 |  | 1982-04-20 | 0 | 35 | NO
800526 | 322538109591001 | D12023003A00 | HAAS, RANDALL,C | NON-EXEMPT | 800 | 0 | 16 |  | 1982-07-21 | 250 | 0 | NO
800531 |  | D12023003A00 | HAAS, RANDALL,C | EXEMPT | 0 | 0 | 0 |  | 1982-07-21 | 0 | 0 | NO
801382 |  | D14020010CCA | ARIZONA STATE LAND DEPARTMENT | EXEMPT | 0 | 0 | 0 |  | 1984-03-26 | 0 | 0 | NO
801383 |  | D14020003BDD | ARIZONA STATE LAND DEPARTMENT | EXEMPT | 0 | 0 | 0 |  | 1984-03-26 | 0 | 0 | NO
805017 | 321340110130801 | D14021008DDB | AZ STATE LAND DEPT, | OTHER | 0 | 0 | 6 |  | 1987-09-15 | 800 | 0 | NO
805943 |  | D13019004ACC | C-SPEAR LLC | EXEMPT | 22 | 0 | 4 | 1899-12-31 | 1990-11-15 | 0 | 5 | NO
807673 |  | D13019023ACC | ELNA L OTTER | EXEMPT | 90 |  | 2 |  | 1998-02-06 | 35 | 35 | NO | N | N
808543 |  | D13022027ADD | JAMES R SOBER JR | EXEMPT | 95 | 95 | 8 | 1980-01-01 | 2003-10-30 | 63 |  | NO
910124 |  | D13019023CCA | BRANDON WERT | EXEMPT |  |  |  |  | 2008-12-02 23:41 |  | 5 | NO | X
914806 |  | D14019030BAD | KRISTIN ZAVROS | NON-EXEMPT | 380 | 240 | 5 | 2013-10-14 | 2012-10-14 20:59 | 36 | 3 | NO | X | X
217411 |  | D13019024CBA | LINDA M. MCLEAN | EXEMPT |  |  |  |  | 2008-04-07 |  |  | NO
219789 |  | D12019010CAD | STEPHEN & TRICA LINDBERG | EXEMPT | 650 | 650 | 5 | 2010-08-25 | 2010-04-19 | 498 |  | NO |  | X
220670 |  | D12023021ABB | RODNEY D. BOHLENDER | NON-EXEMPT | 995 | 990 | 16 | 2011-12-01 | 2011-07-12 | 270 | 1000 | NO | X | X
232940 |  | D14022018AAD | AZ STATE LAND DEPARTMENT | EXEMPT |  |  |  |  | 2020-09-12 |  |  | NO
235064 |  | D13019027DDA | PATRICK MCGINNIS | EXEMPT |  |  |  |  | 2021-07-27 |  |  | NO
507323 |  | D13019025DCA | ROSS & LESLIE MAYNARD | EXEMPT | 100 | 100 | 9 | 1984-03-09 | 1984-02-28 | 60 | 15 | NO | X | X
512839 |  | D13019024DCA | DUFF, ALBERT,S | NON-EXEMPT | 0 | 0 | 0 |  | 1985-11-21 | 0 | 0 | NO
515969 |  | D13019023DBA | THOMAS, CHARLES,E | NON-EXEMPT | 190 | 190 | 12 | 1987-11-01 | 1986-11-03 | 40 | 300 | NO | X | X
516842 |  | D13020031ABD | THE OASIS SANCTUARY FOUNDATION LTD | NON-EXEMPT | 208 | 208 | 8 | 1987-03-26 | 1987-02-11 | 68 | 30 | NO | X | X
517873 |  | D13019024DCA | PRESTON WOOLARD | NON-EXEMPT | 350 | 350 | 10 | 1987-07-17 | 1987-05-19 | 100 | 60 | NO | X | X
520105 | 321208110191401 | D14020020ACC | THREE BAR K, LLC | EXEMPT | 103 | 103 | 8 | 1988-04-03 | 1988-01-22 | 42 | 0 | NO |  | X
520494 | 322443109590401 | D12023010ABB | RIVERVIEW, LLP | EXEMPT | 382 | 383 | 8 | 1988-05-16 | 1988-03-10 | 175 | 0 | NO | C | X
534486 |  | D13023032B00 | PEGASUS GOLD CORP, | OTHER | 170 | 0 | 0 | 1992-03-28 | 1992-02-14 | 0 | 0 | NO | N | X
545408 |  | D13019004DBD | EL POTRERO INC, | EXEMPT | 0 | 0 | 0 |  | 1994-08-24 | 0 | 0 | NO
545409 |  | D12019033CCA | RUKUS AND FREEWAY | EXEMPT | 110 | 110 | 8 | 1994-12-12 | 1994-08-24 | 70 | 0 | NO |  | X
549444 |  | D13023031BBC | DUNLAP OIL CO, | MONITOR | 45 | 45 | 6 | 1995-05-09 | 1995-05-03 | 40 | 0 | NO | N | X
553291 |  | D13020007BCC | AZ STATE LAND DEPT, | EXEMPT | 0 | 0 | 0 |  | 1995-12-06 | 0 | 0 | NO
555862 |  | D13019015ADC | WILLIAM & JERI MULLINS | EXEMPT | 125 | 125 | 8 | 1996-04-10 | 1996-03-21 | 25 | 16 | NO | X | X
563924 |  | D12019018DAA | JOHN D LAMP | EXEMPT | 580 | 580 | 5 |  | 1997-07-10 | 280 | 0 | NO |  | X
574663 |  | D13020031DCA | GERALD E GAMBLIN | EXEMPT | 125 | 125 | 6 | 1999-07-01 | 1999-04-26 | 25 |  | NO |  | X
591389 | 321851110063501 | D13022009CAC | LARRY TODD | EXEMPT | 130 | 130 | 8 | 2002-03-27 | 2002-03-13 | 78 | 20 | NO | X | X
601132 | 321423110251301 | D14019005DC0 | JOSEPH C CARRASCO | EXEMPT | 20 | 0 | 5 |  | 1981-10-19 | 10 | 0 | NO
602777 |  | D13020031BBC | NICK PRUETER | NON-EXEMPT | 110 | 110 | 8 | 1978-02-06 | 1982-02-10 | 30 | 50 | NO
603772 |  | D14020021BCD | SLEEPING FROG FARMS LLC | EXEMPT | 50 | 50 | 6 | 1955-10-25 | 1982-02-09 | 34 | 20 | NO
607859 |  | D13019004DBD | SWEETWATER CENTER | NON-EXEMPT | 85 | 85 | 12 | 1960-06-20 | 1982-05-12 | 16 | 650 | NO
608059 | 321347110191601 | D14020008CBA | ROGERS HEAVEN SENT RANCH, LLC | NON-EXEMPT | 110 | 110 | 16 | 1961-04-01 | 1982-05-12 | 40 | 1275 | NO
608064 |  | D14020008CCD | KENTON M NAKKEN | NON-EXEMPT | 100 | 100 | 6 | 1959-09-01 | 1982-05-12 | 35 | 40 | NO
611033 | 322449110011801 | D12023005DCC | BRENT R. & KIMBERLY HAAS | NON-EXEMPT | 1100 | 1100 | 16 | 1969-05-02 | 1982-06-02 | 260 | 1000 | NO
611037 | 322250110001001 | D12023021ABC | RIVERVIEW, LLP | NON-EXEMPT | 1000 | 1000 | 16 | 1967-02-16 | 1982-06-02 | 260 | 1000 | NO
613537 |  | D13019021BAA | AZ STATE LAND DEPT, | EXEMPT | 540 | 540 | 8 | 1980-09-01 | 1982-06-08 | 150 | 3 | NO
613611 | 322232110205901 | D12019024AAB | C-SPEAR LLC | EXEMPT | 76 | 21 | 2 | 1970-12-31 | 1982-05-26 | 0 | 0 | NO
615845 |  | D12020001CAA | BLM-PHOENIX DISTRICT, | EXEMPT | 0 | 0 | 0 |  | 1982-06-14 | 0 | 5 | NO
615849 |  | D12020023DCB | BLM-PHOENIX DISTRICT, | EXEMPT | 0 | 0 | 0 |  | 1982-06-14 | 0 | 4 | NO
615891 | 321622110262201 | D13019030DBD | AZ STATE LAND DEPT, | EXEMPT | 90 | 90 | 6 | 1930-01-01 | 1982-06-14 | 7 | 20 | NO | X
615903 | 321634110064301 | D13022028BCB | AZ STATE LAND DEPT, | EXEMPT | 1000 | 1000 | 6 | 1945-12-31 | 1982-06-14 | 400 | 0 | NO
615955 | 321157110143001 | D14021019CAC | AZ STATE LAND DEPT, | EXEMPT | 0 | 0 | 0 |  | 1982-06-14 | 116 | 5 | NO
615960 | 321419110034001 | D14022012BBC | AZ STATE LAND DEPT, | EXEMPT | 355 | 355 | 6 | 1976-08-24 | 1982-06-14 | 42 | 0 | NO
616469 |  | D14023005A00 | AZ STATE LAND DEPT, | EXEMPT | 0 | 0 | 0 |  | 1982-06-14 | 0 | 0 | NO
618865 |  | D12023010BAA | RIVERVIEW, LLP | EXEMPT | 300 | 300 | 8 |  | 1982-06-14 | 0 | 0 | NO
622212 |  | D14021025AAD | H.C. DOBSON, JR. RANCH PROPERTIES, LLC | EXEMPT | 300 | 300 | 6 |  | 1982-06-14 | 0 | 0 | NO
622213 |  | D14021025AAA | H.C. DOBSON, JR. RANCH PROPERTIES, LLC | EXEMPT | 280 | 280 | 6 |  | 1982-06-14 | 0 | 0 | NO
622218 |  | D14020001BBC | ARIZONA STATE LAND DEPARTMENT | EXEMPT | 0 | 0 | 0 |  | 1982-06-14 | 0 | 0 | NO
622685 |  | D13021002DCD | AZ STATE LAND DEPT, | EXEMPT | 359 | 300 | 6 | 1940-12-31 | 1982-06-11 | 150 | 8 | NO
629461 |  | D13019024BBC | SCOUTEN INDUSTRIES, | EXEMPT | 0 | 0 | 0 |  | 1982-07-12 | 0 | 0 | NO
633389 |  | D14023020CBD | ARIZONA STATE LAND DEPARTMENT | EXEMPT | 140 | 88 | 8 | 1976-01-01 | 1982-04-08 | 70 | 10 | NO
637777 |  | D13021006AA0 | NATURE CONSERVANCY, | EXEMPT | 0 | 0 | 0 |  | 1982-06-14 | 1 | 8 | NO
637778 |  | D13021006AA0 | NATURE CONSERVANCY, | EXEMPT | 0 | 0 | 0 |  | 1982-06-14 | 1 | 8 | NO
646832 |  | D14021022B00 | ARIZONA STATE LAND DEPARTMENT | EXEMPT | 0 | 0 | 0 |  | 1982-06-14 | 0 | 0 | NO
649748 |  | D14020021BC0 | HALULA, ANTHONY,S | EXEMPT | 80 | 80 | 8 |  | 1982-06-14 | 16 | 35 | NO
651298 | 321339110152801 | D14020012CCB | DOBSON, H.C. JR., | EXEMPT | 0 | 0 | 0 |  | 1982-06-14 | 0 | 0 | NO
800528 |  | D12023003D00 | HAAS, RANDALL,C | NON-EXEMPT | 1000 | 0 | 16 |  | 1982-07-21 | 300 | 0 | NO
800877 |  | D13020002ADB | BLM-PHOENIX DISTRICT, | EXEMPT | 28 | 0 | 8 | 1952-08-06 | 1983-08-24 | 0 | 4 | NO
801904 |  | D12020011AD0 | NATURE CONSERVANCY, | EXEMPT | 0 | 0 | 0 |  | 1984-12-24 | 0 | 0 | NO
805013 | 321407110105401 | D14021011BBC | AZ STATE LAND DEPT, | EXEMPT | 0 | 0 | 12 | 1944-04-01 | 1987-09-15 | 0 | 0 | NO
909739 |  | D13019024CBA | VIRGINIA TENCH LINDA M. MCCLAIN | EXEMPT | 519 | 519 | 7 | 2009-12-05 | 2008-09-15 22:19 | 145 | 5 | NO | X | X
913322 |  | D13020031AAD | SAM DRAKE | EXEMPT |  |  |  |  | 2011-06-02 09:17 |  | 5 | NO | X
914599 |  | D12023020BBB | BRENT HAAS HAAS REVOCABLE TRUST | EXEMPT | 690 | 690 | 6 | 2012-08-24 | 2012-08-14 17:35 | 465 | 10 | NO | X | X
918074 |  | D12023015ABB | RIVERVIEW, LLP | EXEMPT | 600 | 600 | 7 | 2015-04-21 | 2015-04-08 | 242 | 10 | NO | X | X
207914 |  | D12022031DBC | COLTER DANIEL TODD | EXEMPT |  |  |  |  | 2005-06-02 |  | 5 | NO | X
211959 |  | D13023027BBD | TOMMIE F TODD | EXEMPT | 900 | 900 | 5 | 2006-07-06 | 2006-04-26 | 580 | 10 | NO | X | X
215004 |  | D13019022ADD | U S GEOLOGICAL SURVEY | MONITOR | 60 | 60 | 2 | 2007-05-21 | 2007-03-28 | 15 |  | NO |  | X
400026 |  | D13020023DDC | DAVE AND EARLENE HARRIS REVOCABLE TRUST | EXEMPT |  |  |  |  | 1998-07-24 |  |  | NO
510579 |  | D13019024CAA | BUCKENMAIER,E T | EXEMPT | 67 | 67 | 6 | 1985-03-28 | 1985-03-18 | 31 | 0 | NO | C | X
513701 |  | D13019020ACD | FLOYD, ANDREW,R | EXEMPT | 98 | 98 | 8 | 1986-03-12 | 1986-03-13 | 38 | 0 | NO | C | X
515159 |  | D13021003000 | ALL AMERICAN PIPELIN,E | OTHER | 340 | 20 | 8 | 1986-08-16 | 1986-08-12 | 0 | 0 | NO | N | X
518310 |  | D13019023DBA | FOSTER, DEWEY,F | NON-EXEMPT | 102 | 100 | 8 | 1987-07-01 | 1987-06-28 | 40 | 25 | NO | X | X
521169 |  | D13019023AAD | URIAS, GILBERT, | EXEMPT | 120 | 120 | 10 | 1988-08-21 | 1988-05-11 | 68 | 0 | NO | C | X
530366 | 321402109593801 | D14023010BCC | INDE MOTORSPORT RANCH LLC | NON-EXEMPT | 480 | 480 | 8 | 1991-04-14 | 1990-12-20 | 330 | 20 | NO | X | X
534487 |  | D14023005A00 | PEGASUS GOLD CORP, | OTHER | 220 | 0 | 0 | 1992-03-28 | 1992-02-14 | 0 | 0 | NO | N | X
545083 |  | D14022013CDD | KENNECOTT EXPLORATN, | OTHER | 0 | 0 | 0 |  | 1994-08-01 | 0 | 0 | NO | N
545431 |  | D12019033CCA | KAREN M ELLIS | EXEMPT | 105 | 105 | 8 | 1994-12-09 | 1994-08-26 | 70 | 0 | NO |  | X
545692 |  | D12022001DDD | DIMAS J DAVILA-DAVILA | EXEMPT | 350 | 350 | 8 | 1994-12-01 | 1994-09-12 | 180 | 0 | NO | C | X
551427 | 322131110233101 | D12019027DBB | AZ STATE LAND DEPT, | EXEMPT | 585 | 566 | 8 | 1996-04-01 | 1995-11-20 | 462 | 5 | NO | X | X
562275 |  | D13019004DBD | FRED WEINER | EXEMPT | 125 | 125 | 8 | 1997-06-27 | 1997-04-25 | 20 | 16 | NO | X | X
571601 |  | D13019013DCD | OVERLAND EXCHANGE TRUST | EXEMPT |  |  |  |  | 1999-01-27 |  |  | NO
571630 |  | D13019013DDB | WORLDWIDE DEVELOPMENT TRUST / MICHAEL VAN HALL | EXEMPT | 310 | 310 | 5 | 1999-03-12 | 1998-11-23 | 270 |  | NO |  | X
573705 |  | D14020006AAB | RANDALL P MASON | EXEMPT | 98 | 98 | 6 | 1999-12-22 | 1999-03-09 | 40 |  | NO |  | X
580690 |  | D14020029CAB | THE CHOLLA GROUP LLC | NON-EXEMPT |  |  |  |  | 2000-04-28 |  |  | NO
603311 |  | D13019004DBD | ELLIOTT,H A | EXEMPT | 0 | 0 | 6 |  | 1982-03-01 | 25 | 10 | NO
603368 |  | D13020031ABD | THE OASIS SANCTUARY FOUNDATION LTD | EXEMPT | 101 | 101 | 8 | 1975-01-01 | 1982-03-08 | 50 | 30 | NO
603825 |  | D13019015CDD | FRUITMAN TRUST, | EXEMPT | 100 | 100 | 8 | -7668.0194 | 1982-02-09 | 75 | 30 | NO
608072 |  | D14020004CAC | C-SPEAR LLC | EXEMPT | 120 | 120 | 6 | 1955-02-10 | 1982-05-12 | 103 | 10 | NO
611048 |  | D12023017ABC | BRENT R. & KIMBERLY HAAS | EXEMPT | 150 | 50 | 6 |  | 1982-06-02 | 145 | 10 | NO
613538 | 321702110230201 | D13019022DDD | BLM | EXEMPT | 90 | 0 | 0 | 1900-01-01 | 1982-06-08 | 60 | 6 | NO
613608 |  | D12019032DCA | C-SPEAR LLC | NON-EXEMPT | 0 | 0 | 16 | 1968-09-01 | 1982-05-26 | 14 | 1000 | NO
613614 |  | D12020009DAA | C-SPEAR LLC | EXEMPT | 0 | 0 | 0 |  | 1982-05-26 | 0 | 0 | NO
615843 | 322058110214401 | D12019036BDB | BLM-PHOENIX DISTRICT, | EXEMPT | 580 | 12 | 6 | 1954-10-01 | 1982-06-14 | 530 | 3 | NO
615850 |  | D12020024DCC | BLM-PHOENIX DISTRICT, | EXEMPT | 0 | 0 | 0 |  | 1982-06-14 | 0 | 7 | NO
615856 | 322039109592201 | D12023034CAC | AZ STATE LAND DEPT, | EXEMPT | 500 | 300 | 11 | 1951-12-31 | 1982-06-14 | 0 | 3 | NO
615893 | 321559110210301 | D13019036AAA | AZ STATE LAND DEPT, | EXEMPT | 0 | 0 | 5 | 1950-01-01 | 1982-06-14 | 44 | 10 | NO
615902 | 321640110044001 | D13022026BBD | AZ STATE LAND DEPT, | EXEMPT | 15 | 0 | 96 |  | 1982-06-14 | 12 | 0 | NO
615957 | 321207110115101 | D14021022CBB | AZ STATE LAND DEPT, | EXEMPT | 705 | 705 | 6 | 1946-01-01 | 1982-06-14 | 605 | 2 | NO | X
615965 |  | D14023020CBD | ARIZONA STATE LAND DEPARTMENT | EXEMPT | 140 | 88 | 8 | 1976-08-20 | 1982-06-14 | 70 | 10 | NO
616468 |  | D14023004B00 | AZ STATE LAND DEPT, | EXEMPT | 0 | 0 | 0 |  | 1982-06-14 | 0 | 0 | NO
622210 |  | D14021016DDD | ARIZONA STATE LAND DEPARTMENT | EXEMPT | 0 | 0 | 0 |  | 1982-06-14 | 0 | 0 | NO
626862 |  | D12021007ABD | MARTIN, DON & GLENDA, | EXEMPT | 620 | 40 | 12 | 1965-01-01 | 1982-06-14 | 604 | 25 | NO
629455 |  | D13019010CCD | SCOUTEN INDUSTRIES, | NON-EXEMPT | 0 | 0 | 0 |  | 1982-07-12 | 0 | 0 | NO
629465 |  | D13019015CAD | SCOUTEN INDUSTRIES, | EXEMPT | 0 | 0 | 0 |  | 1982-07-12 | 0 | 0 | NO
631051 | 321848110163501 | D13022009CAC | TODD,L L | EXEMPT | 20 | 0 | 0 |  | 1982-03-22 | 10 | 15 | NO
637581 |  | D14023004B00 | SEVERIN SPRINGS RANCH LLC | EXEMPT | 252 | 252 | 6 | 1930-01-01 | 1982-06-07 | 212 | 8 | NO
642706 |  | D12022007BAB | BROKEN DIPPER RANCH LLC | EXEMPT | 0 | 0 | 0 | 1969-01-01 | 1982-06-07 | 0 | 0 | NO
644426 |  | D13019010000 | STEPHEN L BROWN | EXEMPT | 60 | 60 | 6 | 1980-04-01 | 1982-06-09 | 22 | 22 | NO
644598 |  | D14023009BAA | FUNCH, M.W.-ESTATE, | EXEMPT | 0 | 0 | 0 |  | 1982-05-24 | 0 | 35 | NO
646171 |  | D13022023BCA | WARBONNET RANCHES, | EXEMPT | 20 | 0 | 0 |  | 1982-05-26 | 10 | 20 | NO
651300 |  | D14021029AA0 | DOBSON, H.C. JR., | EXEMPT | 630 | 0 | 0 | 1945-01-01 | 1982-06-14 | 600 | 4 | NO
801903 |  | D12020011AD0 | NATURE CONSERVANCY, | EXEMPT | 0 | 0 | 0 |  | 1984-12-24 | 0 | 0 | NO
804979 | 321149110185401 | D14020020DD0 | THE NATURE CONSERVANCY | NON-EXEMPT | 150 | 150 | 6 | 1952-01-01 | 1987-08-25 | 20 | 50 | NO
805015 | 321326110121501 | D14021016ABA | AZ STATE LAND DEPT, | OTHER | 0 | 0 | 6 |  | 1987-09-15 | 800 | 0 | NO
805016 | 321346110131501 | D14021008DAC | AZ STATE LAND DEPT, | OTHER | 0 | 0 | 6 |  | 1987-09-15 | 420 | 0 | NO
805046 |  | D12022033CDA | AZ STATE LAND DEPT, | EXEMPT | 11 | 6 | 6 | 1978-11-30 | 1987-10-06 | 0 | 0 | NO
806776 |  | D13020031BAD | JANET E TRUMBULE | EXEMPT | 90 | 90 | 6 | 1970-12-31 | 1992-03-14 | 40 | 30 | NO
808714 |  | D13019023CAC | WILLIAM T HEALY | EXEMPT |  |  |  |  | 2004-12-03 |  |  | NO
910588 |  | D14020008CDA | JANIS C. BELL | EXEMPT | 95 | 95 | 7 | 2009-03-18 | 2009-03-25 23:07 | 45 | 30 | NO | X | X
915063 |  | D12023009DCC | RIVERVIEW, LLP | NON-EXEMPT | 0 | 9966 | 13 | 2013-01-08 | 2012-12-20 18:02 | 292 |  | NO | I | X
087661 |  | D14022012CDD | TELLES,F | EXEMPT | 250 | 250 | 6 | 1981-05-13 | 1982-05-05 | 50 | 0 | NO
207743 |  | D14020017ABD | THE NATURE CONSERVANCY | MONITOR | 16 | 14 | 2 | 2006-03-15 | 2005-05-09 | 13 |  | NO |  | X
212696 |  | D13019013DAA | OCOTILLO VALLEY TRUST | EXEMPT |  |  |  |  | 2006-06-26 |  |  | NO
215560 |  | D13019015ADA | PATRICIA V RUDIKOFF | EXEMPT | 430 | 430 | 7 | 2007-12-03 | 2007-05-09 | 229 |  | NO |  | X
228854 |  | D13023010BCD | TOMMIE F. AND HEIDI TODD | NON-EXEMPT | 860 | 860 | 5 | 2018-07-12 | 2018-05-30 |  |  | NO |  | X
228969 |  | D12023031ADA | BRENT HAAS HAAS REVOCABLE TRUST | EXEMPT | 995 | 995 | 7 | 2018-08-20 | 2018-06-18 | 650 |  | NO |  | X
229714 |  | D14023009DDD | KEN MARTELLA | EXEMPT | 600 | 260 | 7 | 2019-02-20 | 2018-11-19 | 363 |  | NO |  | X
508171 |  | D13019023BCC | HOFFMAN,B S | EXEMPT | 83 | 83 | 7 | 1984-05-30 | 1984-05-25 | 20 | 20 | NO | X | X
512573 |  | D13019025BBC | WILD BURRO RESCUE AND PRESERVATION PROJECT | EXEMPT | 85 | 85 | 8 | 1986-03-10 | 1985-10-10 | 55 | 0 | NO | C | X
513320 |  | D13019023ACC | RALPH & KATHLEEN WALDT | EXEMPT | 94 | 97 | 8 | 1986-02-28 | 1986-01-29 | 30 | 0 | NO | X | X
521845 |  | D12019033CCB | RUSH & BERGAMINI, | EXEMPT | 0 | 0 | 0 |  | 1988-07-21 | 0 | 0 | NO
521862 |  | D12019033DCC | GAMEZ, DANIEL & M, | EXEMPT | 0 | 0 | 0 |  | 1988-07-25 | 0 | 0 | NO
525815 |  | D13023032000 | NEWMONT EXPLORATION, | OTHER | 170 | 0 | 5 | 1990-09-27 | 1989-08-31 | 0 | 0 | NO | N | X
528873 |  | D13020031AAC | ESTONIA ENTERPRISES LLC | EXEMPT | 150 | 0 | 6 | 1990-08-08 | 1990-07-24 | 0 | 0 | NO | X | X
542914 |  | D13019024DAC | JAMES L ETS HOKIN | EXEMPT | 189 | 189 | 8 | 1994-11-30 | 1994-03-18 | 135 | 10 | NO | X | X
545084 |  | D14022016DDB | KENNECOTT EXPLORATN, | OTHER | 0 | 0 | 0 |  | 1994-08-01 | 0 | 0 | NO | N
545086 |  | D14022014000 | KENNECOTT EXPLORATN, | OTHER | 0 | 0 | 0 |  | 1994-08-01 | 0 | 0 | NO | N
553894 |  | D13019010ABA | SPARROLD, RICHARD,S | EXEMPT | 200 | 195 | 8 | 1996-02-18 | 1996-01-19 | 120 | 16 | NO | X | X
572523 |  | D12019033DAD | BRENDA/NINAKAE BROWN/STANTON | EXEMPT | 505 | 505 | 6 | 1999-01-27 | 1998-12-28 | 278 | 2 | NO | X | X
591725 |  | D13019010BDC | YVONNE CHAUVIN | EXEMPT | 80 | 70 | 7 | 2003-03-14 | 2002-03-29 | 30 |  | NO |  | X
598419 |  | D12023010DBA | TIMM J. HAAS | NON-EXEMPT |  |  |  |  | 2003-05-08 |  |  | NO
603823 |  | D13019015CCA | FRUITMAN TRUST, | EXEMPT | 140 | 120 | 8 | 1978-01-24 | 1982-02-09 | 70 | 0 | NO
608071 | 321143110202901 | D14020019CDC | CHOLLA GROUP LLC | EXEMPT | 485 | 485 | 8 | 1963-02-01 | 1982-05-12 | 450 | 10 | NO
608074 |  | D13019032BBB | CHOLLA GROUP LLC | EXEMPT | 110 | 110 | 6 | 1960-12-21 | 1982-05-12 | 70 | 15 | NO
611019 |  | D13020032CBC | MORROW, CATHERINE,T | NON-EXEMPT | 83 | 83 | 8 | 1974-02-01 | 1982-06-14 | 27 | 750 | NO
611034 | 322415110004001 | D12023009CBB | BRENT R. & KIMBERLY HAAS | NON-EXEMPT | 1070 | 1070 | 16 | 1969-06-01 | 1982-06-02 | 260 | 1000 | NO
611038 | 322305109593701 | D12023015CCC | RIVERVIEW, LLP | NON-EXEMPT | 1370 | 1370 | 16 | 1967-02-15 | 1982-06-02 | 260 | 1000 | NO
611042 | 322408110001101 | D12023009DBB | RIVERVIEW, LLP | NON-EXEMPT | 1196 | 1196 | 16 | 1966-05-30 | 1982-06-02 | 260 | 1000 | NO
613635 |  | D13020031ADD | JOEL & DONNA QUISENBERRY | NON-EXEMPT | 136 | 136 | 16 | 1956-01-01 | 1982-05-26 | 32 | 1000 | NO
615847 | 322252110194201 | D12020020BAA | BLM-PHOENIX DISTRICT, | EXEMPT | 0 | 0 | 0 | 1915-01-01 | 1982-06-14 | 0 | 6 | NO
615895 | 321749110165401 | D13020014CCD | AZ STATE LAND DEPT, | EXEMPT | 560 | 560 | 6 | 1964-06-01 | 1982-06-14 | 540 | 5 | NO
615896 | 321516110195001 | D13020032CDC | AZ STATE LAND DEPT, | EXEMPT | 0 | 0 | 6 | 1930-01-01 | 1982-06-14 | 40 | 10 | NO
615897 | 321934110101801 | D13021002DCD | AZ STATE LAND DEPT, | EXEMPT | 0 | 0 | 0 | 1940-01-01 | 1982-06-14 | 0 | 0 | NO
615901 | 321735110040701 | D13022023ABD | AZ STATE LAND DEPT, | EXEMPT | 60 | 0 | 54 | 1945-12-31 | 1982-06-14 | 0 | 2 | NO
615905 | 322020110010201 | D13023005ABA | AZ STATE LAND DEPT, | EXEMPT | 596 | 100 | 11 | 1952-12-31 | 1982-06-14 | 523 | 12 | NO
615945 |  | D14019020BCA | AZ STATE LAND DEPT, | EXEMPT | 0 | 0 | 0 |  | 1982-06-14 | 0 | 1 | NO
615964 | 321457109595501 | D14023004ADB | AZ STATE LAND DEPT, | EXEMPT | 252 | 252 | 6 | 1939-01-01 | 1982-06-14 | 212 | 4 | NO
622689 | 322043110081701 | D12022031DBC | COLTER DANIEL TODD | EXEMPT | 20 | 0 | 0 | 1915-01-01 | 1982-06-11 | 19 | 3 | NO
629316 |  | D13019004CAB | JO LESLIE HELLRIEGEL | EXEMPT | 50 | 50 | 6 | 1978-03-03 | 1982-02-03 | 16 | 35 | NO
629456 | 321702110215101 | D13019024CCC | SCOUTEN INDUSTRIES, | NON-EXEMPT | 0 | 0 | 0 |  | 1982-07-12 | 0 | 0 | NO
629466 | 321848110212101 | D13019012DCD | SCOUTEN INDUSTRIES, | EXEMPT | 0 | 0 | 0 |  | 1982-07-12 | 0 | 0 | NO
629714 | 321747110122201 | D13021016DCC | SUNNY MESA, INC. | EXEMPT | 200 | 200 | 6 | 1921-01-01 | 1982-03-01 | 140 | 15 | NO
631181 |  | D13021017ADD | KAYSHA BEST | EXEMPT | 100 | 0 | 6 | 1935-01-01 | 1982-06-07 | 80 | 12 | NO
631867 |  | D13019023BC0 | SUSAN L NEWMAN | EXEMPT | 60 | 65 | 4 | 1941-01-01 | 1982-03-30 | 40 | 10 | NO
637583 |  | D13023034B00 | SEVERIN SPRINGS RANCH LLC | EXEMPT | 235 | 100 | 5 | 1940-01-01 | 1982-06-07 | 154 | 6 | NO
642463 |  | D12019033CCB | VALICKA,R | EXEMPT | 106 | 106 | 6 | 1977-03-14 | 1982-05-13 | 40 | 20 | NO
642705 | 322320110093701 | D12021013BCD | MARTIN, DON & GLENDA, | EXEMPT | 0 | 0 | 0 | 1950-01-01 | 1982-06-07 | 0 | 0 | NO
645668 |  | D13020031BCD | CASCABEZ CLAY WORKS, | EXEMPT | 14 | 14 | 48 | 1975-01-01 | 1982-06-10 | 10 | 10 | NO
645669 |  | D13020031BCB | CLARK,M N | EXEMPT | 109 | 109 | 6 | 1980-02-01 | 1982-06-10 | 35 | 30 | NO
648764 |  | D12020021CC0 | C-SPEAR LLC | EXEMPT | 150 | 150 | 6 |  | 1982-06-14 | 30 | 7 | NO
648765 |  | D12020011DA0 | WILSON, RICHARD,F | EXEMPT | 140 | 140 | 6 |  | 1982-06-14 | 50 | 5 | NO
650592 | 322031110245601 | D12019033CCC | ARTHUR EUGENE TROUTNER | EXEMPT | 150 | 150 | 8 | 1966-12-11 | 1982-07-08 | 55 | 10 | NO
651299 |  | D14021029AA0 | DOBSON, H.C. JR., | EXEMPT | 630 | 0 | 0 | 1945-01-01 | 1982-06-14 | 600 | 4 | NO
805945 |  | D12020019AA0 | C-SPEAR LLC | EXEMPT | 0 | 0 | 0 | 1970-12-31 | 1990-11-15 | 0 | 5 | NO
808719 |  | D14020028ABB | THE NATURE CONSERVANCY | EXEMPT |  |  | 8 | 1960-01-01 | 2004-11-01 |  |  | NO
809075 |  | D12021036CAB | ARIZONA STATE LAND DEPARTMENT | EXEMPT |  |  | 9 | 1979-01-01 | 2007-02-08 |  |  | NO
908371 |  | D14020006CBA | LEWIS LANCASTER | EXEMPT | 120 | 120 | 7 | 2008-01-24 | 2008-01-21 08:24 | 30 |  | NO | X | X
909740 |  | D13019013DAB | NORMAN M. MEADER | EXEMPT | 365 | 365 | 7 | 2008-11-21 | 2008-09-15 22:40 | 260 | 2 | NO | X | X
913028 |  | D14021015000 | INFRASTRUCTURE MATERIALS US CORP | OTHER |  |  |  |  | 2011-03-08 10:54 |  |  | NO
913030 |  | D14021008000 | INFRASTRUCTURE MATERIALS US CORP | OTHER |  |  |  |  | 2011-03-08 11:00 |  |  | NO
914839 |  | D13021017DAA | JOSEPH & HEATHER HATCH | EXEMPT | 326 | 326 | 7 | 2012-11-17 | 2012-10-23 08:12 | 168 | 19 | NO | X | X